Risk Assessment

| Name of activity, event, and location | Residential Buildings @ Bramhope Scout Campsite | Date of risk assessment Date of next review | 11/05/2026 01/05/2027 | Name of person doing this risk assessment | Angie Foley John Smallwood |
| --- | --- | --- | --- | --- | --- |

This document describes the hazards and controls you may encounter at Bramhope. This risk assessment excludes adventurous activities, (these are available on our website) and only includes hazards which may affect visiting groups – it does not cover hazards specific to site maintenance volunteers. This document provides a concise overview of the controls in place so that you have a reasonable understanding of the hazards and residual risks associated with visiting the site. If you feel there are hazards missing or you would like more detailed information, please get in touch.

| Level | Severity Description | Residual Risk Description |
| --- | --- | --- |
| Low | Minor injury requiring no treatment or simple first aid | Control measures have reduced the severity and/or likelihood to minimal levels. |
| Medium | Injury requires treatment beyond the skills of a basic first aider. Requires participant to stop activity. | Control measures have reduced the severity and/or likelihood to adequate level. But hazard still requires dynamic risk assessment and conscious consideration. |
| High | Injury requires expert medical attention and/or be fatal. | Control measures haven’t reduced severity or likelihood to an acceptable level. |

| Hazards | Who may be harmed? | Foreseeable Severity | Control measures in place | Residual Risk |
| --- | --- | --- | --- | --- |
| Fire Burns and asphyxiation | All building users | H | Automatic fire alarms installed; serviced and regularly checked Emergency lighting installed; serviced and regularly checked Emergency exits to be kept clear at all times- signage provided. Where security locks in place, these MUST be unlocked when in use. Building user to check on arrival & appoint a Fire Marshal. Portable fire extinguishers provided; serviced and regularly checked All windows to be unlocked, shutters opened when building in use. Rubbish to be placed in bins provided and removed from the building regularly. | M |
| Electric shock | All building users | M | All circuits fitted with RCD protection devices Users MUST NOT interfere with any electrical installations Portable appliances belonging to the site to be regularly PAT tested, failed appliances to be removed. Use of extension cables kept to a minimum and ONLY be run externally from the buildings with prior approval. Regular 5 year fixed wire testing completed by appropriately qualified electrician. Users own electrical equipment subject to own risk assessments – see policy in folder | L |
| Leaks from gas appliances or fumes from incorrect operation of appliances. Danger of fire/explosion | All building users | M | Fixed gas appliances to be serviced regularly by appropriately qualified contractors Extraction system MUST be used when cooker is in operation. Automatic interlock system in place. Users MUST NOT interfere with any gas installations | L |
| Bunk beds/fall from height | All building users | M | Top bunks fitted with side panels and fixed ladders Top bunks only to be used for sleeping or resting Infirm or nervous young people to be accommodated on bottom bunks | L |
| Door hinges | All building users | M | Doors fitted with safety door closers; regularly checked Doors fitted with finger guards; regularly checked | L |
| Kitchen burns/scalds cuts by sharp utensils slips/trips/falls | All building users | H | Overall kitchen supervision by identified competent person Good housekeeping- spills cleared immediately, warning signage available Appropriate cleaning materials and equipment supplied. This element is subject to buildings users own risk assessments | M |
| Cooking, food storage & preparation Allergies & Hygiene | All building users | M | Refrigeration and storage facilities are provided Kitchen cleanliness is maintained by site, users are required to thoroughly clean and remove surplus food/waste before departure Allergens and hygiene posters displayed in kitchen area Annual deep clean of kitchens undertaken by external contractor including extraction system Electronic fly catchers are provided This element is subject to buildings users own risk assessments | L |
| Carbon monoxide | All building users | M | Carbon monoxide detectors are situated in all buildings; regularly checked Poster on notice board regarding symptoms of carbon monoxide poisening. | L |
| Legionella | All building users | M | See separate Legionella Risk assessment & management plan | L |
| Asbestos | All building users | L | See separate Asbestos management plan | L |
| Inclusion | All building users |  | Where possible all adaptations have been made to accommodate occupants who use mobility aids: the Ashton centre has a wet room; John Briggs is built on 1 level; the Lodge is less accessible due to steps into the building. Users need to follow their own risk assessments to ensure safe evacuation in case of fire/emergencies. This element is subject to buildings users own risk assessments |  |
| Board games/outdoor games | All building users | L | Board games are provided for use inside the building. Please note small pieces in some games & follow age guidelines on the boxes Outdoor games, please ensure supervised use of games. This element is subject to buildings users own risk assessments | L |

Don‘t forget, as part of your programme planning, you should have contingency activities in reserve just in case you can’t do what was planned or you need to stop half way through. Make sure this is shared with those involved, so everyone knows how to respond. You should have risk assessed contingency activities prior to them taking place and communicated key information to those involved as with all activities.